## Table 1 Rectified Range
FTK Kit Analysis Report
Particulars of Sample
Treated / Chlorinated Water from
Sr. No. | Characterstic | Unit
|  |  | Ranges | Range
PHYSICAL
1 | Turbidity | NTU | 0-1 ; 1-5 ; >5 | 0-1
CHEMICAL
2 | ph | ph Scale | 6.5 to 8.5 | 6.5 to 8.5
3 | Total Alkalinity | mg / l | 0-200 ; 200-600; >600 | 0-600
4 | Chlorides | mg / l | 0-250 ; 250-1000 ; >1000 | 0-1000
5 | Nitrates | mg / l | 45 | 0-45
6 | Total Hardness | mg / l | 0-200 ; 200-600 ; >600 | 0-600 as CaCO3
7 | Iron | mg / l | 0-0.3 ; 0.3-1 ; >1 | 0-1
8 | Fluoride | mg / l | 0-1 ; 1-1.5 ; >1.5 | 0-1.5
9 | Residual Chlorine | mg / l | 0-0.2 ; 0.2-1 ; >1 | 0.2-1
10 | Amonia | mg / l | 0-0.5 ; >0.5 | 0-0.5

## Table 1 Rectified
FTK Kit Analysis Report
Particulars of Sample
Treated / Chlorinated Water from
Sr. No. | Characterstic | Unit |  |  | Recommendations as per Drinking water Specification IS 10500 : 2012
|  |  | Ranges | Range | Acceptable | cause of Rejection
PHYSICAL
1 | Turbidity | NTU | 0-1 ; 1-5 ; >5 | 0-1 | 1 | 5
CHEMICAL
2 | ph | ph Scale | 6.5 to 8.5 | 6.5 to 8.5 | 6.5 to 8.5 | No Relaxation
3 | Total Alkalinity | mg / l | 0-200 ; 200-600; >600 | 0-600 | 200 | 600
4 | Chlorides | mg / l | 0-250 ; 250-1000 ; >1000 | 0-1000 | 250 | 1000
5 | Nitrates | mg / l | 45 | 0-45 | 45 | No Relaxation
6 | Total Hardness | mg / l | 0-200 ; 200-600 ; >600 | 0-600 as CaCO3 | 200 as CaCO3 | 600 as CaCO3
7 | Iron | mg / l | 0-0.3 ; 0.3-1 ; >1 | 0-1 | 0.3 | 1
8 | Fluoride | mg / l | 0-1 ; 1-1.5 ; >1.5 | 0-1.5 | 1 | 1.5
9 | Residual Chlorine | mg / l | 0-0.2 ; 0.2-1 ; >1 | 0.2-1 | 0.2 | 1
10 | Amonia | mg / l | 0-0.5 ; >0.5 | 0-0.5 | 0.5 | No Relaxation

## Table 1
FTK Kit Analysis Report
Particulars of Sample
Treated / Chlorinated Water from
Sr. No. | Characterstic | Unit |  |  | Recommendations as per Drinking water Specification IS 10500 : 2012
|  |  | Ranges | Range | Acceptable | cause of Rejection
PHYSICAL
1 | Turbidity | NTU | 0-1 ; 1-5 ; >5 | 0-1 | 1 | 5
CHEMICAL
2 | ph | ph Scale | 6.5 to 8.5 |  | 6.5 to 8.5 | No Relaxation
3 | Total Alkalinity | mg / l | 0-200 ; 200-600; >600 | 0-200 & 200-600 | 200 | 600
4 | Chlorides | mg / l | 0-250 ; 250-1000 ; >1000 | 0-250 & 250-1000 | 250 | 1000
5 | Nitrates | mg / l | 45 | 0-45 & 45-No Relaxation | 45 | No Relaxation
6 | Total Hardness | mg / l | 0-200 ; 200-600 ; >600 | 0-200 as CaCO3 & 200 as CaCO3-600 as CaCO3 | 200 as CaCO3 | 600 as CaCO3
7 | Iron | mg / l | 0-0.3 ; 0.3-1 ; >1 | 0-0.3 & 0.3-1 | 0.3 | 1
8 | Fluoride | mg / l | 0-1 ; 1-1.5 ; >1.5 | 0-1 & 1-1.5 | 1 | 1.5
9 | Residual Chlorine | mg / l | 0-0.2 ; 0.2-1 ; >1 | 0-0.2 & 0.2-1 | 0.2 | 1
10 | Amonia | mg / l | 0-0.5 ; >0.5 | 0-0.5 & 0.5-No Relaxation | 0.5 | No Relaxation

## Sheet1
Source of Sample |  | Location | Date of Testing |  | Upload Photo |  | Remark
Tubewell |  | School |  |  | max 3
Dugwell |  | Anganwadi
Borewell |  | Health Center
OHT |  | Any Other
Handpump
Beneficiary | Name & Phone no Optional
Range
Particulars of laboratory |  | units | limits | Acceptable | Permisisble with alternate source | Rejectable
Phycial / chemical
drop down